## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/031
Enquiry Date: 2025-10-17
Enquiry Particulars: WATER ATM
Submission Date/Time Before: 2025-10-18 18:00:00
Project Coordinators: Nikul Davda, Vipul Parmar, Mrugesh Patel, Ritu Atthwal
Project Name: Community Water ATMs in Halol
Project Type: CSR
Site Location: MASVAD, BANDHELI AND VARASADA
Srl | Item Desc | UoM | Reqd. Qty | D.G.B Infosystem |  |  | SOCIAL VYUH |  |  | NAV PRODUCTS
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | 2 Ton Chiller • Steel frame, copper condenser & evaporator • Corrosion-resistant & permitted material • Eco-friendly refrigerant • Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent (NA ) | Nos | 3 | 65305.9 | 18 | 231183 | 150000 | 18 | 531000 | 115000 | 18 | 407100
2 | 3-Layer Antimicrobial Raw Water Storage Tank – 2000 Ltr. • Triple-layer, food-grade polymer • Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (1000 Ltr.) (Certified Food-Grade and Anti-Microbial Storage) Required Cer (overhead water tank needed for 2 water ATMs) | Nos | 2 | 25000 | 18 | 59000 | 30000 | 18 | 70800 | 25000 | 18 | 59000
3 | Borewell automization and plumbing charges (Varasada Village) | Nos | 1 | 8898.3 | 18 | 10500 | 30000 | 18 | 35400 | 3000 | 18 | 3540
4 | Branding Sticker (12 ft * 12ft) UV coated (NA ) | Nos | 3 | 0 | 18 | 0 | 70000 | 18 | 247800 | 15000 | 18 | 53100
5 | Cabinet Unit for Water ATM Machinery • Dimensions: 12’ x 12’ • 50 mm PUF insulated cabinet • Door size: 6’ x 3’ (NA ) | Nos | 3 | 123650 | 18 | 437721 | 170000 | 18 | 601800 | 210000 | 18 | 743400
6 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (as per drawin (NA ) | Nos | 3 | 50000 | 18 | 177000 | 160000 | 18 | 566400 | 95000 | 18 | 336300
7 | Comprehensive Maintenance Contract (CMC) • 2 Years (after 1-year brand warranty) (NA ) | Nos | 3 | 90000 | 18 | 318600 | 90000 | 18 | 318600 | 48000 | 18 | 169920
8 | Drainage line 350 rft with 3 chambers with covers, 75 mm pvc pipe (Varasada Village) | Nos | 1 | 116101.7 | 18 | 137000 | 60000 | 18 | 70800 | 54000 | 18 | 63720
9 | Earthing & Electrical Fittings • Anchor Cables, MCB, Switchboards (ISI Marked) • Complete earthing & wiring Standard ISI Approved Or Equivalent (NA ) | Job | 3 | 27000 | 18 | 95580 | 40000 | 18 | 141600 | 21000 | 18 | 74340
10 | Fixing of 1.5 HP borwell motor pump, with pipe, starter and wire and its automatization (Required at BANDHELI water ATM) | Job | 1 | 42372.9 | 18 | 50000 | 60000 | 18 | 70800 | 203000 | 18 | 239540
11 | Fully Automated Plant Assembly • Lubi Motors • SV Valves • Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent (NA ) | Nos | 3 | 22000 | 18 | 77880 | 30000 | 18 | 106200 | 42000 | 18 | 148680
12 | Fully Automatic Industrial R.O. Plant – 250 LPH (High TDS) • Capacity: 250 LPH • ISI Marked, ISO Certified • FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent (NA ) | Nos | 3 | 180201.7 | 18 | 637914 | 130000 | 18 | 460200 | 190000 | 18 | 672600
13 | GSM-Based Coin Panel • ISI Marked, Standard (NA ) | Nos | 3 | 30239.8 | 18 | 107049 | 60000 | 18 | 212400 | 69000 | 18 | 244260
14 | Monitoring & Evaluation (Monthly Monitoring Report, Key Outputs and other associated details will be shared regularly ) (NA ) | Nos | 3 | 20000 | 18 | 70800 | 10000 | 18 | 35400 | 2500 | 18 | 8850
15 | Pavagadh water atm safety grill work with MS angels and 10 mm rods (Bandheli Village) | Kgs | 400 | 144.1 | 18 | 68001 | 80000 | 18 | 37760000 | 150 | 18 | 70800
16 | Plumbing 20 feet and drainage line and automatization of Bore well (Masvad village) | Nos | 1 | 21186.4 | 18 | 25000 | 45000 | 18 | 53100 | 13000 | 18 | 15340
17 | SIM-Based CCTV Camera • 2 MP HD Resolution • Night Vision, Bullet Camera • SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent (NA ) | Nos | 3 | 19500 | 18 | 69030 | 15000 | 18 | 53100 | 11000 | 18 | 38940
18 | Tarkhanda water atm fixing of all the pipes and wires underground and making bore well chamber (Masvad village) | Nos | 1 | 25423.7 | 18 | 30000 | 40000 | 18 | 47200 | 48000 | 18 | 56640
19 | Transport, Installation and training (NA ) | Nos | 3 | 30000 | 18 | 106200 | 5000 | 18 | 17700 | 0 | 18 | 0
20 | Water Purifier Storage Tank (1000 Liter – 3 layer with M.S stand instrument) (NA ) | Nos | 3 | 20000 | 18 | 70800 | 100000 | 18 | 354000 | 48000 | 18 | 169920
[6 empty] | 2779258 |  |  | 41754300 |  |  | 3575990
[6 empty] | L1 |  |  | L3 |  |  | L2
Payment Terms |  |  |  | 80% Advance 20% after installation |  |  | 100% against PO. |  |  | AS PER MSME TERMS
Freight |  |  |  | included |  |  | Freight Charges are Inclusive. |  |  | INCLUDED
Installation |  |  |  | included |  |  | Commissioning and Installation of entire water ATM will completed within 45 Days of starting the work. |  |  | INCLUDED
Remarks
Delivery Schedule |  |  |  | 30 days |  |  | Machines will begin deliveries immediately after the construction work is completed, which is expected to take 20–25 days from the work start date. |  |  | AS PER PO
Warranty |  |  |  | total 3 years |  |  | 1 Year Standard Brand Warranty. |  |  | ONE YEAR STANDARD WARRANTY

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/031
Enquiry Date: 2025-10-17
Enquiry Particulars: WATER ATM
Submission Date/Time Before: 2025-10-18 18:00:00
Project Coordinators: Nikul Davda, Vipul Parmar, Mrugesh Patel, Ritu Atthwal
Project Name: Community Water ATMs in Halol
Project Type: CSR
Site Location: MASVAD, BANDHELI AND VARASADA
Srl | Item Desc | UoM | Reqd. Qty | D.G.B Infosystem
|  |  |  | Rate | Tax % | Amount
1 | 2 Ton Chiller • Steel frame, copper condenser & evaporator • Corrosion-resistant & permitted material • Eco-friendly refrigerant • Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent (NA ) | Nos | 3 | 65305.9 | 18 | 231182.9
2 | 3-Layer Antimicrobial Raw Water Storage Tank – 2000 Ltr. • Triple-layer, food-grade polymer • Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (1000 Ltr.) (Certified Food-Grade and Anti-Microbial Storage) Required Cer (overhead water tank needed for 2 water ATMs) | Nos | 2 | 25000 | 18 | 59000
3 | Borewell automization and plumbing charges (Varasada Village) | Nos | 1 | 8898.3 | 18 | 10500
4 | Branding Sticker (12 ft * 12ft) UV coated (NA ) | Nos | 3 | 0 | 18 | 0
5 | Cabinet Unit for Water ATM Machinery • Dimensions: 12’ x 12’ • 50 mm PUF insulated cabinet • Door size: 6’ x 3’ (NA ) | Nos | 3 | 123650 | 18 | 437721
6 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (as per drawin (NA ) | Nos | 3 | 50000 | 18 | 177000
7 | Comprehensive Maintenance Contract (CMC) • 2 Years (after 1-year brand warranty) (NA ) | Nos | 3 | 90000 | 18 | 318600
8 | Drainage line 350 rft with 3 chambers with covers, 75 mm pvc pipe (Varasada Village) | Nos | 1 | 116101.7 | 18 | 137000
9 | Earthing & Electrical Fittings • Anchor Cables, MCB, Switchboards (ISI Marked) • Complete earthing & wiring Standard ISI Approved Or Equivalent (NA ) | Job | 3 | 27000 | 18 | 95580
10 | Fixing of 1.5 HP borwell motor pump, with pipe, starter and wire and its automatization (Required at BANDHELI water ATM) | Job | 1 | 42372.9 | 18 | 50000
11 | Fully Automated Plant Assembly • Lubi Motors • SV Valves • Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent (NA ) | Nos | 3 | 22000 | 18 | 77880
12 | Fully Automatic Industrial R.O. Plant – 250 LPH (High TDS) • Capacity: 250 LPH • ISI Marked, ISO Certified • FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent (NA ) | Nos | 3 | 180201.7 | 18 | 637914
13 | GSM-Based Coin Panel • ISI Marked, Standard (NA ) | Nos | 3 | 30239.8 | 18 | 107048.9
14 | Monitoring & Evaluation (Monthly Monitoring Report, Key Outputs and other associated details will be shared regularly ) (NA ) | Nos | 3 | 20000 | 18 | 70800
15 | Pavagadh water atm safety grill work with MS angels and 10 mm rods (Bandheli Village) | Kgs | 400 | 144.1 | 18 | 68015.2
16 | Plumbing 20 feet and drainage line and automatization of Bore well (Masvad village) | Nos | 1 | 21186.4 | 18 | 25000
17 | SIM-Based CCTV Camera • 2 MP HD Resolution • Night Vision, Bullet Camera • SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent (NA ) | Nos | 3 | 19500 | 18 | 69030
18 | Tarkhanda water atm fixing of all the pipes and wires underground and making bore well chamber (Masvad village) | Nos | 1 | 25423.7 | 18 | 30000
19 | Transport, Installation and training (NA ) | Nos | 3 | 30000 | 18 | 106200
20 | Water Purifier Storage Tank (1000 Liter – 3 layer with M.S stand instrument) (NA ) | Nos | 3 | 20000 | 18 | 70800
PO / WO Value Including Tax | [5 empty] | 2779272
Negotiated / Discount Amount | [5 empty] | 0
Total PO/WO Value After Discount | [5 empty] | 2779272
Payment Terms |  |  |  | 80% Advance20% after installation
Freight |  |  |  | included
Installation |  |  |  | included
Remarks |  |  |  | Proper power supply required for installation
Delivery Schedule |  |  |  | 30 days
Warranty |  |  |  | total 3 years
Procurement Committee Member: Hemant Shah
Date Updated: 2025-10-27
Time Updated: 16:23:45