## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/019
Enquiry Date: 2025-09-16
Enquiry Particulars: WATER ATM
Submission Date/Time Before: 2025-09-23 12:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Type: CSR
Project Amount: 24306030
Site Location: KOTAMBI VILLAGE, WAGHODIA TALUKA, VADODARA
Srl | Item Desc | UoM | Reqd. Qty | D.G.B Infosystem |  |  | SOCIAL VYUH |  |  | NAV PRODUCTS
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | 3 SIM CARDS Sim cards with 3 Years of Data Plan Jio/Airtel | Nos | 3 | 5000 | 18 | 17700 | 5000 | 18 | 17700 | 15000 | 18 | 53100
2 | 3 Ton Chiller <br>• Steel frame, copper condenser & evaporator <br>• Corrosion-resistant material <br>• Eco-friendly refrigerant <br>• Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent | Nos | 1 | 125000 | 18 | 147500 | 150000 | 18 | 177000 | 165000 | 18 | 194700
3 | 3-Layer Antimicrobial Raw Water Storage Tank – 2000 Ltr. <br>• Triple-layer, food-grade polymer <br>• Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (2000 Ltr.) (Certified Food-Grade and Anti-Microbial Storage) Required Cer | Nos | 1 | 18000 | 18 | 21240 | 30000 | 18 | 35400 | 25000 | 18 | 29500
4 | Bore well with Pump Set <br>• Borewell depth: 200 Ft <br>• Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent | Nos | 1 | 135000 | 18 | 159300 | 160000 | 18 | 188800 | 203000 | 18 | 239540
5 | Branding & Signage <br>• ACP sheet branding board: 12’ x 10’ <br>• UV Printing tiles with epoxy coating <br>• Sample to be approved | Nos | 1 | 25000 | 18 | 29500 | 70000 | 18 | 82600 | 38000 | 18 | 44840
6 | Cabinet Unit for Water ATM Machinery <br>• Dimensions: 12’ x 12’ <br>• 50 mm PUF insulated cabinet <br>• Door size: 6’ x 3’ | Nos | 1 | 160000 | 18 | 188800 | 250000 | 18 | 295000 | 210000 | 18 | 247800
7 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) as per drawing. Height of the platform 2’ above surrounding ground wall level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (as per drawing) for raw w | Nos | 1 | 200000 | 18 | 236000 | 170000 | 18 | 200600 | 95000 | 18 | 112100
8 | Comprehensive Maintenance Contract (CMC) <br>• 2 Years (after 1-year brand warranty) | Years | 2 | 45000 | 18 | 106200 | 45000 | 18 | 106200 | 78000 | 18 | 184080
9 | Earthing & Electrical Fittings <br>• Anchor Cables, MCB, Switchboards (ISI Marked) <br>• Complete earthing & wiring Standard ISI Approved Or Equivalent | Lumsum | 1 | 35000 | 18 | 41300 | 40000 | 18 | 47200 | 21000 | 18 | 24780
10 | Fully Automated Plant Assembly <br>• Lubi Motors <br>• SV Valves <br>• Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent | Nos | 1 | 25000 | 18 | 29500 | 30000 | 18 | 35400 | 42000 | 18 | 49560
11 | Fully Automatic Industrial R.O. Plant – 750 LPH (High TDS) <br>• Capacity: 750 LPH <br>• ISI Marked, ISO Certified <br>• FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent | Nos | 1 | 220000 | 18 | 259600 | 200000 | 18 | 236000 | 298500 | 18 | 352230
12 | GSM-Based Coin Panel <br>• ISI Marked, Standard | Nos | 2 | 45500 | 18 | 107380 | 30000 | 18 | 70800 | 69000 | 18 | 162840
13 | R.O. Water Storage Tank – 1500 Ltr. <br>• Stainless Steel SS304 (Food Grade) <br>• With stand support | Nos | 1 | 70000 | 18 | 82600 | 100000 | 18 | 118000 | 48000 | 18 | 56640
14 | Rooftop Solar System – 3.54 kV <br>• Capacity: 3.54 kV with auto-clean system <br>• Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) <br>• Columns & Rafters: 60x40 mm <br>• Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent | Nos | 1 | 350000 | 18 | 413000 | 180000 | 18 | 212400 | 180000 | 18 | 212400
15 | SIM-Based CCTV Camera <br>• 2 MP HD Resolution <br>• Night Vision, Bullet Camera <br>• SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent | Nos | 2 | 22500 | 18 | 53100 | 15000 | 18 | 35400 | 11000 | 18 | 25960
[6 empty] | 1892720 |  |  | 1858500 |  |  | 1990070
[6 empty] | L2 |  |  | L1 |  |  | L3
Payment Terms |  |  |  | 80% advance 20% after work complete |  |  | 100% Payment against PO. |  |  | 50 % ADVANCE AND REST ON INSTALLATION
Freight |  |  |  | cost included |  |  | Freight is Inclusive. |  |  | BY SUPPLIER
Installation |  |  |  | cost included |  |  | Installation Timeline will be shared upon receiving of PO and site visit with UWB team. |  |  | BY SUPPLIER
Remarks
Delivery Schedule |  |  |  | 30-40 working days |  |  | 15 Days upon receiving of PO. |  |  | 3 -4 WEEKS
Warranty |  |  |  | Total 3 years warranty except physical damage and damage due to power fluctuation and natural calamities |  |  | 1 Year Standard Warranty on all products. |  |  | 1 YEAR

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/019
Enquiry Date: 2025-09-16
Enquiry Particulars: WATER ATM
Submission Date/Time Before: 2025-09-23 12:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Amount: 24306030
Site Location: KOTAMBI VILLAGE, WAGHODIA TALUKA, VADODARA
Srl | Item Desc | UoM | Reqd. Qty | NAV PRODUCTS
|  |  |  | Rate | Tax % | Amount
1 | 3 SIM CARDS Sim cards with 3 Years of Data Plan Jio/Airtel | Nos | 3 | 15000 | 18 | 53100
2 | 3 Ton Chiller • Steel frame, copper condenser & evaporator • Corrosion-resistant material • Eco-friendly refrigerant • Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent | Nos | 1 | 165000 | 18 | 194700
3 | 3-Layer Antimicrobial Raw Water Storage Tank – 2000 Ltr. • Triple-layer, food-grade polymer • Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (2000 Ltr.) (Certified Food-Grade and Anti-Microbial Storage) Required Cer | Nos | 1 | 25000 | 18 | 29500
4 | Bore well with Pump Set • Borewell depth: 200 Ft • Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent | Nos | 1 | 203000 | 18 | 239540
5 | Branding & Signage • ACP sheet branding board: 12’ x 10’ • UV Printing tiles with epoxy coating • Sample to be approved | Nos | 1 | 38000 | 18 | 44840
6 | Cabinet Unit for Water ATM Machinery • Dimensions: 12’ x 12’ • 50 mm PUF insulated cabinet • Door size: 6’ x 3’ | Nos | 1 | 210000 | 18 | 247800
7 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) as per drawing. Height of the platform 2’ above surrounding ground wall level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (as per drawing) for raw w | Nos | 1 | 95000 | 18 | 112100
8 | Comprehensive Maintenance Contract (CMC) • 2 Years (after 1-year brand warranty) | Years | 2 | 78000 | 18 | 184080
9 | Earthing & Electrical Fittings • Anchor Cables, MCB, Switchboards (ISI Marked) • Complete earthing & wiring Standard ISI Approved Or Equivalent | Lumsum | 1 | 21000 | 18 | 24780
10 | Fully Automated Plant Assembly • Lubi Motors • SV Valves • Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent | Nos | 1 | 42000 | 18 | 49560
11 | Fully Automatic Industrial R.O. Plant – 750 LPH (High TDS) • Capacity: 750 LPH • ISI Marked, ISO Certified • FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent | Nos | 1 | 298500 | 18 | 352230
12 | GSM-Based Coin Panel • ISI Marked, Standard | Nos | 2 | 69000 | 18 | 92040
13 | R.O. Water Storage Tank – 1500 Ltr. • Stainless Steel SS304 (Food Grade) • With stand support | Nos | 1 | 48000 | 18 | 56640
14 | Rooftop Solar System – 3.54 kV • Capacity: 3.54 kV with auto-clean system • Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) • Columns & Rafters: 60x40 mm • Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent | Nos | 1 | 180000 | 18 | 143130
15 | SIM-Based CCTV Camera • 2 MP HD Resolution • Night Vision, Bullet Camera • SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent | Nos | 2 | 11000 | 18 | 25960
PO / WO Value Including Tax | [5 empty] | 1850000
Negotiated / Discount Amount | [5 empty] | 0
Total PO/WO Value After Discount | [5 empty] | 1850000
Payment Terms |  |  |  | 25 % ADVANCE, 50% INSTALLATION AND REST ON COMPLETION
Freight |  |  |  | BY SUPPLIER
Installation |  |  |  | BY SUPPLIER
Remarks |  |  |  | ASSUMING THAT WE WILL HAVE ELECTRIC SUPPLY AND DRAINAGE CLOSE BY, AS IN WITHIN 10 MTR
Delivery Schedule |  |  |  | 3 -4 WEEKS
Warranty |  |  |  | 1 YEAR
Procurement Committee Member: Hemant Shah
Date Updated: 2025-11-07
Time Updated: 15:01:55