## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/039
Enquiry Date: 2025-11-01
Enquiry Particulars: SOLAR ROOFTOP
Submission Date/Time Before: 2025-11-18 15:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Type: CSR
Project Amount: 24306030
Site Location: KOTAMBI, MACHHLIPURA and ALAMGADH VILLAGES
Srl | Item Desc | UoM | Reqd. Qty | NESSA ILLUMINATION TECHNOLOGIES PVT, LTD |  |  | Shree Dattguru Enterprise |  |  | Sunion Technologies LLP |  |  | SOCIAL VYUH |  |  | GREEN FEED SOLAR
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | Commercial Solar Roof Top System (3.54 KW) – Includes Panels (540/545 watt), Grid Tie Inverter, DC/AC Cabling, Earthing, GI Structures, Switchgear, Installation, Warranty (Panels – 5 yrs., Inverters – 7 yrs., Defects – 10 yrs.), Meter Charges, Stamp Duty & GEDA Registration (Kotambi Villages) Rooftop Solar System – 3.54 kV <br>• Capacity: 3.54 kV with auto-clean system <br>• Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) <br>• Columns & Rafters: 60x40 mm <br>• Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent (KOTAMBI renovated anganwadi AND NEW constructed anganwadi AND MACHLIPURA anganwadi ) | Nos | 3 | 0 | 0 | 0 | 303340 | 18 | 1073823.6 | 54500 | 0 | 163500 | 220000 | 0 | 660000 | 130000 | 8.9 | 424710
2 | Commercial Solar Roof Top System (6 KW) – Includes Panels (540/545 watt), Grid Tie Inverter, DC/AC Cabling, Earthing, GI Structures, Switchgear, Installation, Warranty (Panels – 5 yrs., Inverters – 7 yrs., Defects – 10 yrs.), Meter Charges, Stamp Duty & GEDA Registration (Kotambi Villages) Rooftop Solar System – 6 kV <br>• Capacity: 6 kV with auto-clean system <br>• Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) <br>• Columns & Rafters: 60x40 mm <br>• Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent (KOTAMBI PRIMARY SCHOOL AND ALAMGADH PRIMARY SCHOOL) | Nos | 2 | 0 | 0 | 0 | 410340 | 18 | 968402.4 | 54500 | 8.9 | 118701 | 330000 | 0 | 660000 | 209000 | 8.9 | 455202
[6 empty] | 0 |  |  | 2042226 |  |  | 282201 |  |  | 1320000 |  |  | 879912
[6 empty] | L1 |  |  | L5 |  |  | L2 |  |  | L4 |  |  | L3
Payment Terms | [6 empty] | 50 % Advance and 50 % work complete |  |  | 50% Advance payment with a written PO on email and copy. 25% Before Release of Material for site. 20% before completed file Submission for meter connection to DISCOM 5% within 7 days of TAX Invoice/Bill submission |  |  | 100 % ADVANCE |  |  | on completion of installation
Freight | [6 empty] | N/A |  |  | Inclusive in price quoted |  |  | 3500 |  |  | including in price
Installation | [6 empty] | Including below Rate |  |  | Assumed: 1. RCC Roof with stable life and intact structure with structural engineers approval to execute and install Solar PV Rooftop 2. Cable lengths: 20m DC, 15m AC, lightening arrester 20m, earthing cable 20m. Anything beyond this is chargeable. |  |  | ONCE GEB APPROVAL AND METER CONNECTION IS RECEIVED AND SITE IS READY |  |  | we can start installation on feasibility approval from MGVCL / Discom OR MAY BE IN ADVANCE AS ITS ONE DAY WORK OF INSTLLATION .
Remarks | [9 empty] | -The Validity of pricing is 10 days as panel and component rates are highly fluctuating. -Single Phase connection assumed ( as it is not mentioned in RFQ details). Charges etc may add up in case of a 3 phase connection. |  |  | GEB CHARGES EXTRA - AT ACTUAL ADANI PANELS |  |  | 6 KW, 545 WATT X 11 PENAL SOLAR POWER SYSSYTEM WITH AUTO SPRINKLER
Delivery Schedule | [6 empty] | 65 day |  |  | 45 days after receipt of GEB/DISCOM approval |  |  | 15 DAYS FROM P.O |  |  | 6-10 days max on purchase order ,
Warranty | [6 empty] | Panels – 5 yrs, Inverters –7 yrs, Defects – 10 yrs |  |  | 1 year workmanship warranty on installation. System Monitoring and Issue reporting in client scope. WIfi to be provided by client at the site for Inverter Data Online Synchronization at the time of installation. |  |  | INVERTER - 10 YEAR SOLAR MODULE - 30 YEAR , WARRANTY NOT APPLICABLE IN CASE OF ANY MISHANDLING , MODIFICATION, ALTERATION , PHYSICAL DAMAGE DUE TO ANY NATURAL OR UNNATURAL CIRCUMSTANCES. |  |  | 5 YEARS WHOLE SYSYSTEM WARRANTY , INVERTER WARRANTY FROM MANUFECTER 10 YEARS , SOLAR PV MODULE WARRANTY AGANST MFT. DEFECT 12 YEARS AND PERFOMANCE WRRANTY 30 YEARS

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/039
Enquiry Date: 2025-11-01
Enquiry Particulars: SOLAR ROOFTOP
Submission Date/Time Before: 2025-11-18 15:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Amount: 24306030
Site Location: KOTAMBI, MACHHLIPURA and ALAMGADH VILLAGES
Srl | Item Desc | UoM | Reqd. Qty | GREEN FEED SOLAR
|  |  |  | Rate | Tax % | Amount
1 | Commercial Solar Roof Top System (3.54 KW) – Includes Panels (540/545 watt), Grid Tie Inverter, DC/AC Cabling, Earthing, GI Structures, Switchgear, Installation, Warranty (Panels – 5 yrs., Inverters – 7 yrs., Defects – 10 yrs.), Meter Charges, Stamp Duty & GEDA Registration (Kotambi Villages) Rooftop Solar System – 3.54 kV • Capacity: 3.54 kV with auto-clean system • Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) • Columns & Rafters: 60x40 mm • Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent (KOTAMBI renovated anganwadi AND NEW constructed anganwadi AND MACHLIPURA anganwadi ) | Nos | 3 | 130000 | 8.9 | 424710
2 | Commercial Solar Roof Top System (6 KW) – Includes Panels (540/545 watt), Grid Tie Inverter, DC/AC Cabling, Earthing, GI Structures, Switchgear, Installation, Warranty (Panels – 5 yrs., Inverters – 7 yrs., Defects – 10 yrs.), Meter Charges, Stamp Duty & GEDA Registration (Kotambi Villages) Rooftop Solar System – 6 kV • Capacity: 6 kV with auto-clean system • Hot-dip GI pipe 80 mm, 2 mm thick (10 Ft height) • Columns & Rafters: 60x40 mm • Purlin Box Pipe: Standard Waree / Tata / Loom / Adani Or Equivalent (KOTAMBI PRIMARY SCHOOL AND ALAMGADH PRIMARY SCHOOL) | Nos | 2 | 209000 | 8.9 | 455202
PO / WO Value Including Tax | [5 empty] | 879912
Negotiated / Discount Amount | [5 empty] | 0
Total PO/WO Value After Discount | [5 empty] | 879912
Payment Terms |  |  |  | on completion of installation
Freight |  |  |  | including in price
Installation |  |  |  | we can start installation on feasibility approval from MGVCL / Discom OR MAY BE IN ADVANCE AS ITS ONE DAY WORK OF INSTLLATION .
Remarks |  |  |  | PRICE INCLUDING AUTO CLEANING SPRINKLER, GEDA AND GEB METER CHARGES
Delivery Schedule |  |  |  | 6-10 days max on purchase order ,
Warranty |  |  |  | 5 YEARS WHOLE SYSYSTEM WARRANTY , INVERTER WARRANTY FROM MANUFECTER 10 YEARS , SOLAR PV MODULE WARRANTY AGANST MFT. DEFECT 12 YEARS AND PERFOMANCE WRRANTY 30 YEARS
Procurement Committee Member: Minesh Patel
Date Updated: 2025-12-05
Time Updated: 15:19:58