## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/047
Enquiry Date: 2025-11-07
Enquiry Particulars: Renovation Work of Chukari AWC - 9
Submission Date/Time Before: 2025-11-19 17:00:00
Project Coordinators: Sunny Devnani
Project Name: Smart Anganwadi - Karkhadi Sector, Padra Taluka, Vadodara District.
Project Type: CSR
Project Amount: 1950300
Site Location: Chukari Village, AWC - 9, Padra Taluka, Vadodara District
Srl | Item Desc | UoM | Reqd. Qty | Excel Infrastructure |  |  | Shree Dattguru Enterprise |  |  | Shree Laxmi Enterprise |  |  | Status Interiors |  |  | Suril Construction
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | P & L Brickwork using common burnt clay building bricks having crushing strength not less than 35 kg./Sq.Cm. in superstructure in Cement Mortar 1:6 (1- Cement : 6 -fine sand) (NA) | CUMT | 1 | 0 | 0 | 0 | 6000 | 18 | 7080 | 0 | 0 | 0 | 5000 | 18 | 5900 | 6750 | 18 | 7965
2 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 (NA) | Sq | 5 | 0 | 0 | 0 | 380 | 18 | 2242 | 0 | 0 | 0 | 440 | 18 | 2596 | 510 | 18 | 3009
3 | Providing and laying 1st quality ceramic tiles of size not less than 300mm x 600mm x 8mm thick, in line and level for dado etc. with cement over rough plaster surface etc. (NA) | Sq | 5 | 0 | 0 | 0 | 1000 | 18 | 5900 | 0 | 0 | 0 | 1400 | 18 | 8260 | 950 | 18 | 5605
4 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. (NA) | Sq | 12.5 | 0 | 0 | 0 | 1700 | 18 | 25075 | 0 | 0 | 0 | 1800 | 18 | 26550 | 1650 | 18 | 24337.5
5 | "Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface free from mortar droppings and other foreign matter. Item includes very minor touching with lapi whenever required, making the surface even and smooth by sand papers. 1. Asian Paint : Premium Emulsion 2. Nerolac Paint : Lotus Touch 3. ICI Dulux (Akzo Nobel) : ICI Dulux 3 in 1 4. Berger Paint : Easy Clean 5. GROWEL : Super Acroplast Plastic Emulsion Paint" (NA) | Sq | 130 | 0 | 0 | 0 | 250 | 18 | 38350 | 0 | 0 | 0 | 240 | 18 | 36816 | 230 | 18 | 35282
6 | "Providing & applying two coats of exterior premium emulsion paint including priming coat of following brand and make as mentioned below on existing plastered surface including finishing & thinning as per manufacturer’s specifications, including scaffolding, jhoolas etc., complete as directed by E.I.C. 1. Asian Paint : Apex Ultima 2. Nerolac Paint : Excel Total 3. ICI Dulux (Akzo Nobel) : Weathersheild Max 4. Berger Paint : Weather Coat Allguard" (NA) | Sq | 120 | 0 | 0 | 0 | 230 | 18 | 32568 | 0 | 0 | 0 | 260 | 18 | 36816 | 250 | 18 | 35400
7 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerolac Synthetic 3. ICI Dulux (Akzo Nobel) : Dulux Gloss 4. Berger Paint : Luxol High Gloss 5. GROWEL Paint : Pentolite Super Synthetic enamel (NA) | Sq | 37 | 0 | 0 | 0 | 200 | 18 | 8732 | 0 | 0 | 0 | 240 | 18 | 10478.4 | 265 | 18 | 11569.9
8 | Providing and fixing to wall 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density for wate spout complete with special flange compression type fittings wall clips etc including making good the wall ceiling and floor (NA) | RMT | 10 | 0 | 0 | 0 | 250 | 18 | 2950 | 0 | 0 | 0 | 700 | 18 | 8260 | 650 | 18 | 7670
9 | Providing and fixing two track aluminum shutters with frame below kitchen platform and in covered verandah having extruded aluminum colour anodized section with backelite sheet and glass at top etc. complete (NA) | Sq | 14.5 | 0 | 0 | 0 | 3000 | 18 | 51330 | 0 | 0 | 0 | 4000 | 18 | 68440 | 4200 | 18 | 71862
10 | Minor repairing to windows, doors, ventilators etc suchas replacement of broken glass etc and making them in smooth working condition (NA) | Nos | 10 | 0 | 0 | 0 | 1100 | 18 | 12980 | 0 | 0 | 0 | 1700 | 18 | 20060 | 500 | 18 | 5900
11 | Providing and fixing 500 litre capacity overhead PVC tank of Sintex brand on terrace including necessaty fitting, piping etc. (NA) | Nos | 1 | 0 | 0 | 0 | 12000 | 18 | 14160 | 0 | 0 | 0 | 7000 | 18 | 8260 | 9500 | 18 | 11210
12 | All drainage line works from toilet, wash area, kitchen, etc upto soak pit which inludes necessary PVC pipe line work, nahni trap / gully trap, replacing te old WC seat with new one, manhole chamber etc. (NA) | Job | 1 | 0 | 0 | 0 | 15000 | 18 | 17700 | 0 | 0 | 0 | 18000 | 18 | 21240 | 35000 | 18 | 41300
13 | Providing soak pit of 2.0 Cu.M. volume including excavating and filling brickbats with dry masonry work at top for 45cm. height including covering the top with stone including providing vatas in C.M. 1:3 with finishing curing etc. complete as directed. (NA) | Nos | 1 | 0 | 0 | 0 | 25000 | 18 | 29500 | 0 | 0 | 0 | 32000 | 18 | 37760 | 65000 | 18 | 76700
14 | Necessary plumbing work for connecting the motor/pump to the water supply line and then upto OH tank including changing all bib cocks, flush cock, pillar cock etc, with new SS cocks including all fixtures, labour, etc. complte (NA) | Job | 1 | 0 | 0 | 0 | 26000 | 18 | 30680 | 0 | 0 | 0 | 10000 | 18 | 11800 | 55000 | 18 | 64900
15 | Providing and fixing 1/2 hp cromptom motor for lifting of water to overhaed water tank including necessary fitting etc. Complete. (piping work is included in plumbing item) (NA) | Nos | 1 | 0 | 0 | 0 | 6000 | 18 | 7080 | 0 | 0 | 0 | 5000 | 18 | 5900 | 9600 | 18 | 11328
16 | Painting the inside walls of classrooms as well as outside passage walls with mural painting (NA) | Sq | 70 | 0 | 0 | 0 | 1100 | 18 | 90860 | 0 | 0 | 0 | 650 | 18 | 53690 | 1050 | 18 | 86730
17 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation (NA) | Nos | 1 | 0 | 0 | 0 | 4500 | 18 | 5310 | 0 | 0 | 0 | 5000 | 18 | 5900 | 6750 | 18 | 7965
18 | Electrical Work : Providing and fixing of electrical point and wiring with ISI make switch and plug, for TV in hall with propoeearthing etc. complete (NA) | Job | 1 | 0 | 0 | 0 | 25000 | 18 | 29500 | 0 | 0 | 0 | 20000 | 18 | 23600 | 52500 | 18 | 61950
[6 empty] | 0 |  |  | 411997 |  |  | 0 |  |  | 392326.4 |  |  | 570683.4
[6 empty] | L1 |  |  | L4 |  |  | L2 |  |  | L3 |  |  | L5
Payment Terms | [6 empty] | 50 % Advance 50 % after all work complete | [5 empty] | Payment terms 50% advance along with work order, balance payment 07 days from invoice submission date. |  |  | 70% Advance with work order , Balance after completion of work.
Freight | [6 empty] | 70 Day | [5 empty] | All items includes delivery, labour, material & transportation for respective location. |  |  | N.A.
Installation | [6 empty] | N/A | [5 empty] | AS PER WORK ORDER |  |  | N.A.
Remarks
Delivery Schedule | [6 empty] | N/A | [5 empty] | 02 MONTHS FROM WORK ORDER |  |  | 60 Days
Warranty | [6 empty] | N/A | [5 empty] | FOR ALL PRODUCTS AS PER MANUFACTURER STATUS INTERIORS WILL PROVIDE SERVICE FOR 06 MONTHS FROM WORK COMPLETION. |  |  | 180 Days

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/047
Enquiry Date: 2025-11-07
Enquiry Particulars: Renovation Work of Chukari AWC - 9
Submission Date/Time Before: 2025-11-19 17:00:00
Project Coordinators: Sunny Devnani
Project Name: Smart Anganwadi - Karkhadi Sector, Padra Taluka, Vadodara District.
Project Amount: 1950300
Site Location: Chukari Village, AWC - 9, Padra Taluka, Vadodara District
Srl | Item Desc | UoM | Reqd. Qty | Shree Dattguru Enterprise
|  |  |  | Rate | Tax % | Amount
1 | "Providing & applying two coats of exterior premium emulsion paint including priming coat of following brand and make as mentioned below on existing plastered surface including finishing & thinning as per manufacturer’s specifications, including scaffolding, jhoolas etc., complete as directed by E.I.C. 1. Asian Paint : Apex Ultima 2. Nerolac Paint : Excel Total 3. ICI Dulux (Akzo Nobel) : Weathersheild Max 4. Berger Paint : Weather Coat Allguard" (NA) | Sq | 120 | 230 | 18 | 32568
2 | "Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface free from mortar droppings and other foreign matter. Item includes very minor touching with lapi whenever required, making the surface even and smooth by sand papers. 1. Asian Paint : Premium Emulsion 2. Nerolac Paint : Lotus Touch 3. ICI Dulux (Akzo Nobel) : ICI Dulux 3 in 1 4. Berger Paint : Easy Clean 5. GROWEL : Super Acroplast Plastic Emulsion Paint" (NA) | Sq | 130 | 250 | 18 | 38350
3 | All drainage line works from toilet, wash area, kitchen, etc upto soak pit which inludes necessary PVC pipe line work, nahni trap / gully trap, replacing te old WC seat with new one, manhole chamber etc. (NA) | Job | 1 | 15000 | 18 | 17700
4 | Electrical Work : Providing and fixing of electrical point and wiring with ISI make switch and plug, for TV in hall with propoeearthing etc. complete (NA) | Job | 1 | 25000 | 18 | 29500
5 | Minor repairing to windows, doors, ventilators etc suchas replacement of broken glass etc and making them in smooth working condition (NA) | Nos | 10 | 1100 | 18 | 12980
6 | Necessary plumbing work for connecting the motor/pump to the water supply line and then upto OH tank including changing all bib cocks, flush cock, pillar cock etc, with new SS cocks including all fixtures, labour, etc. complte (NA) | Job | 1 | 26000 | 18 | 30680
7 | P & L Brickwork using common burnt clay building bricks having crushing strength not less than 35 kg./Sq.Cm. in superstructure in Cement Mortar 1:6 (1- Cement : 6 -fine sand) (NA) | CUMT | 1 | 6000 | 18 | 7080
8 | Painting the inside walls of classrooms as well as outside passage walls with mural painting (NA) | Sq | 70 | 1100 | 18 | 90860
9 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 (NA) | Sq | 5 | 380 | 18 | 2242
10 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerolac Synthetic 3. ICI Dulux (Akzo Nobel) : Dulux Gloss 4. Berger Paint : Luxol High Gloss 5. GROWEL Paint : Pentolite Super Synthetic enamel (NA) | Sq | 37 | 200 | 18 | 8732
11 | Providing and fixing 1/2 hp cromptom motor for lifting of water to overhaed water tank including necessary fitting etc. Complete. (piping work is included in plumbing item) (NA) | Nos | 1 | 6000 | 18 | 7080
12 | Providing and fixing 500 litre capacity overhead PVC tank of Sintex brand on terrace including necessaty fitting, piping etc. (NA) | Nos | 1 | 12000 | 18 | 14160
13 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation (NA) | Nos | 1 | 4500 | 18 | 5310
14 | Providing and fixing to wall 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density for wate spout complete with special flange compression type fittings wall clips etc including making good the wall ceiling and floor (NA) | RMT | 10 | 250 | 18 | 2950
15 | Providing and fixing two track aluminum shutters with frame below kitchen platform and in covered verandah having extruded aluminum colour anodized section with backelite sheet and glass at top etc. complete (NA) | Sq | 14.5 | 3000 | 18 | 51330
16 | Providing and laying 1st quality ceramic tiles of size not less than 300mm x 600mm x 8mm thick, in line and level for dado etc. with cement over rough plaster surface etc. (NA) | Sq | 5 | 1000 | 18 | 5900
17 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. (NA) | Sq | 12.5 | 1700 | 18 | 25075
18 | Providing soak pit of 2.0 Cu.M. volume including excavating and filling brickbats with dry masonry work at top for 45cm. height including covering the top with stone including providing vatas in C.M. 1:3 with finishing curing etc. complete as directed. (NA) | Nos | 1 | 25000 | 18 | 29500
PO / WO Value Including Tax | [5 empty] | 411997
Negotiated / Discount Amount | [5 empty] | 36997
Total PO/WO Value After Discount | [5 empty] | 375000
Payment Terms |  |  |  | 50 % Advance 50 % after all work complete
Freight |  |  |  | 70 Day
Installation |  |  |  | N/A
Remarks |  |  |  | 1-Extra work will be charge as per site.2-Water & Electricity Supply by Client
Delivery Schedule |  |  |  | N/A
Warranty |  |  |  | N/A
Procurement Committee Member: Minesh Patel
Date Updated: 2025-12-17
Time Updated: 17:08:47