## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/049
Enquiry Date: 2025-10-09
Enquiry Particulars: Renovation of Anganwadi no. 2
Submission Date/Time Before: 2025-12-08 17:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Type: CSR
Project Amount: 24306030
Site Location: Kotambi village, Halol Vadodara highway
Srl | Item Desc | UoM | Reqd. Qty | Shree Dattguru Enterprise |  |  | Excel Infrastructure |  |  | Suril Construction |  |  | chandrakant machi
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | "Providing & applying two coats of exterior premium emulsion paint including priming coat of following brand and make as mentioned below on existing plastered surface including finishing & thinning as per manufacturer’s specifications, including scaffol | Sq | 273 | 230 | 18 | 74092.2 | 225 | 18 | 72481.5 | 240 | 18 | 77313.6 | 110 | 0 | 30030
2 | "Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface fr | Sq | 130 | 250 | 18 | 38350 | 245 | 18 | 37583 | 265 | 18 | 40651 | 100 | 0 | 13000
3 | concealed electrical work Providing and fixing of electrical point and wiring with ISI make switch and plug, ISI make copper wiring in concealed, distribution box with ISI make MCB fitting, additional poit for TV, proper earthing, providing and fixing 1 4 | Job | 1 | 27000 | 18 | 31860 | 20000 | 18 | 23600 | 62500 | 18 | 73750 | 30000 | 0 | 30000
4 | Demolition of terrace water proofing including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 60 | 300 | 18 | 21240 | 320 | 18 | 22656 | 395 | 18 | 27966 | 150 | 0 | 9000
5 | Dismentaling the ceramic tiles of toilet in floor and dado and kitchen dado including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 13 | 600 | 18 | 9204 | 225 | 18 | 3451.5 | 300 | 18 | 4602 | 215 | 0 | 2795
6 | Dismentaling tiled stone floors laid in mortar including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 50 | 500 | 18 | 29500 | 225 | 18 | 13275 | 325 | 18 | 19175 | 160 | 0 | 8000
7 | Filling in foundation and plinth with murrum or selected soil in layers of 20cm. thickness including watering, ramming and consolidating etc. completed. | CUMT | 16.5 | 500 | 18 | 9735 | 750 | 18 | 14602.5 | 625 | 18 | 12168.8 | 200 | 0 | 3300
8 | Minor repairing to windows, doors, ventilators etc such as replacement of broken glass etc and making them in smooth working condition | Nos | 10 | 1000 | 18 | 11800 | 2500 | 18 | 29500 | 2500 | 18 | 29500 | 1000 | 0 | 10000
9 | P & L Half brick masonry in common brunt clay building bricks having crushing strength not less than 35 Kg/Sq.Cm. in Cement mortar 1:4 ( 1- Cement : 4 -coarse sand ) | Sq | 1.2 | 750 | 18 | 1062 | 1150 | 18 | 1628.4 | 1275 | 18 | 1805.4 | 7075 | 0 | 8490
10 | Painting the inside walls of classrooms as well as outside passage walls with mural painting | Sq | 134 | 1100 | 18 | 173932 | 450 | 18 | 71154 | 1050 | 18 | 166026 | 540 | 0 | 72360
11 | Providig and fixing Netlon or equivalent mosquito net to windows and ventilators by making welcorw system for fixing | Sq | 7 | 250 | 18 | 2065 | 950 | 18 | 7847 | 1575 | 18 | 13009.5 | 500 | 0 | 3500
12 | Providig and fixing stainless sink for kitchen of size 18" x 24" with necessary fitting etc. Complete | Nos | 1 | 1500 | 18 | 1770 | 2800 | 18 | 3304 | 5850 | 18 | 6903 | 2100 | 0 | 2100
13 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 | Sq | 5 | 380 | 18 | 2242 | 450 | 18 | 2655 | 495 | 18 | 2920.5 | 375 | 0 | 1875
14 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerola | Sq | 40 | 200 | 18 | 9440 | 280 | 18 | 13216 | 220 | 18 | 10384 | 100 | 0 | 4000
15 | Providing and fixing 18mm black granite for kitchen platform and for door, window, ventilator frame fixing wirh cement mortar 1:3 for platform and with cement for frames with proper edge polishing etc. (Basic rate of granite Rs. 200.00 per SqFt.) | Sq | 2.1 | 2500 | 18 | 6195 | 4500 | 18 | 11151 | 5250 | 18 | 13009.5 | 2150 | 0 | 4515
16 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation | Nos | 1 | 4500 | 18 | 5310 | 6000 | 18 | 7080 | 6500 | 18 | 7670 | 5000 | 0 | 5000
17 | Providing and fixing to wall ceiling and floor 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density complete with special flange compression type fittings wall clips etc for rain water spout on terrace | RMT | 12 | 250 | 18 | 3540 | 750 | 18 | 10620 | 675 | 18 | 9558 | 200 | 0 | 2400
18 | Providing and fixing two track aluminum shutter for cupboard in kitchen and hall having extruded aluminum Colour anodized section with backelite sheet / 4 mm glass with powder coated aluminum fittings and fixtures etc complete | Sq | 9 | 3000 | 18 | 31860 | 3800 | 18 | 40356 | 5125 | 18 | 54427.5 | 2690 | 0 | 24210
19 | Providing and fixing various types of SS taps/cocks such as bib cocks (2 no.), piller cock (1 no.) flush cock (1 no.) stop cock (1 no.) etc complete | Nos | 1 | 12000 | 18 | 14160 | 1500 | 18 | 1770 | 14500 | 18 | 17110 | 5000 | 0 | 5000
20 | Providing and laying 1st quality ceramic tiles of size not less than 300mm x 600mm x 8mm thick, in line and level for dado etc. with cement over rough plaster surface etc. | Sq | 14.2 | 900 | 18 | 15080.4 | 1450 | 18 | 24296.2 | 975 | 18 | 16337.1 | 860 | 0 | 12212
21 | Providing and laying 1st quality finished vitrified tiles of size not less than 600mm x 600mm x 8mm thick, in line and level for flooring / skirting etc. wherever required up to any floor, over under bed with minimum 20 to 40mm thick cement sand mortar | Sq | 50 | 1100 | 18 | 64900 | 1500 | 18 | 88500 | 1075 | 18 | 63425 | 1075 | 0 | 53750
22 | Providing and laying brick bat cement concrete 1:4:8 (1-cement : 4-coarse sand : 8-hand broken brick bats) and curing complete below flooring | CUMT | 5 | 4000 | 18 | 23600 | 5200 | 18 | 30680 | 5350 | 18 | 31565 | 5000 | 0 | 25000
23 | Providing and laying cement concrete 1:4:8 (1-cement : 4-coarse sand : 8- brick bats 40mm nominal size) and curing complete below pvaer blocks | CUMT | 7 | 5000 | 18 | 41300 | 5500 | 18 | 45430 | 5350 | 18 | 44191 | 5000 | 0 | 35000
24 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. | Sq | 5 | 1700 | 18 | 10030 | 1700 | 18 | 10030 | 1590 | 18 | 9381 | 1290 | 0 | 6450
25 | Providing water proofing treatment to terrace at any level with brick bat coba in proportion 1:3 of average 150 mm thick as per standard using chemical as water proofing, china mosaic tile pieces fixing on the top finished smooth with white cement with p | Sq | 60 | 1300 | 18 | 92040 | 850 | 18 | 60180 | 1575 | 18 | 111510 | 1180 | 0 | 70800
26 | Removing the existing paver blocks and refixing the same after raising the ground level including 35mm sand layer for levelling and filling the joint with sand in proper line and level | Sq | 72 | 40 | 18 | 3398.4 | 650 | 18 | 55224 | 875 | 18 | 74340 | 400 | 0 | 28800
27 | Removing the old indian WC and fixing the new one in line, level, with proper drainage outlet connestion etc. complete | Nos | 1 | 2000 | 18 | 2360 | 15000 | 18 | 17700 | 9500 | 18 | 11210 | 5000 | 0 | 5000
[6 empty] | 730066 |  |  | 719971.1 |  |  | 949908.9 |  |  | 476587
[6 empty] | L3 |  |  | L2 |  |  | L4 |  |  | L1
Payment Terms |  |  |  | 50 Advance 50% After completion work. |  |  | 70% with Purchase Order |  |  | 80% amount along with work order balance 20% on Completion of work |  |  | Do the 3 or 4 equal parts of estimated amount . 1 part of payment required advance.
Freight |  |  |  | Na |  |  | Included |  |  | Not Applicable |  |  | include in below given rates
Installation |  |  |  | Na |  |  | Included |  |  | Not Applicable |  |  | approx 3 months require for hand over
Remarks
Delivery Schedule |  |  |  | 45 day |  |  | 90 days from the date of Work order |  |  | Not Applicable |  |  | february ending possession
Warranty |  |  |  | Na |  |  | As per manufacturer |  |  | 6 month |  |  | 1 year maintenance warranty

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/049
Enquiry Date: 2025-10-09
Enquiry Particulars: Renovation of Anganwadi no. 2
Submission Date/Time Before: 2025-12-08 17:00:00
Project Coordinators: Mrugesh Patel, Mitva Desai, Vipul Parmar, Ritu Atthwal
Project Name: Integrated Rural Development
Project Amount: 24306030
Site Location: Kotambi village, Halol Vadodara highway
Srl | Item Desc | UoM | Reqd. Qty | Excel Infrastructure
|  |  |  | Rate | Tax % | Amount
1 | "Providing & applying two coats of exterior premium emulsion paint including priming coat of following brand and make as mentioned below on existing plastered surface including finishing & thinning as per manufacturer’s specifications, including scaffol | Sq | 273 | 225 | 18 | 72481.5
2 | "Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface fr | Sq | 130 | 245 | 18 | 37583
3 | concealed electrical work Providing and fixing of electrical point and wiring with ISI make switch and plug, ISI make copper wiring in concealed, distribution box with ISI make MCB fitting, additional poit for TV, proper earthing, providing and fixing 1 4 | Job | 1 | 20000 | 18 | 23600
4 | Demolition of terrace water proofing including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 60 | 320 | 18 | 22656
5 | Dismentaling the ceramic tiles of toilet in floor and dado and kitchen dado including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 13 | 225 | 18 | 3451.5
6 | Dismentaling tiled stone floors laid in mortar including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. | Sq | 50 | 225 | 18 | 13275
7 | Filling in foundation and plinth with murrum or selected soil in layers of 20cm. thickness including watering, ramming and consolidating etc. completed. | CUMT | 16.5 | 750 | 18 | 14602.5
8 | Minor repairing to windows, doors, ventilators etc such as replacement of broken glass etc and making them in smooth working condition | Nos | 10 | 2500 | 18 | 29500
9 | P & L Half brick masonry in common brunt clay building bricks having crushing strength not less than 35 Kg/Sq.Cm. in Cement mortar 1:4 ( 1- Cement : 4 -coarse sand ) | Sq | 1.2 | 1150 | 18 | 1628.4
10 | Painting the inside walls of classrooms as well as outside passage walls with mural painting | Sq | 134 | 450 | 18 | 71154
11 | Providig and fixing Netlon or equivalent mosquito net to windows and ventilators by making welcorw system for fixing | Sq | 7 | 950 | 18 | 7847
12 | Providig and fixing stainless sink for kitchen of size 18" x 24" with necessary fitting etc. Complete | Nos | 1 | 2800 | 18 | 3304
13 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 | Sq | 5 | 450 | 18 | 2655
14 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerola | Sq | 40 | 280 | 18 | 13216
15 | Providing and fixing 18mm black granite for kitchen platform and for door, window, ventilator frame fixing wirh cement mortar 1:3 for platform and with cement for frames with proper edge polishing etc. (Basic rate of granite Rs. 200.00 per SqFt.) | Sq | 2.1 | 4500 | 18 | 11151
16 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation | Nos | 1 | 6000 | 18 | 7080
17 | Providing and fixing to wall ceiling and floor 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density complete with special flange compression type fittings wall clips etc for rain water spout on terrace | RMT | 12 | 750 | 18 | 10620
18 | Providing and fixing two track aluminum shutter for cupboard in kitchen and hall having extruded aluminum Colour anodized section with backelite sheet / 4 mm glass with powder coated aluminum fittings and fixtures etc complete | Sq | 9 | 3800 | 18 | 40356
19 | Providing and fixing various types of SS taps/cocks such as bib cocks (2 no.), piller cock (1 no.) flush cock (1 no.) stop cock (1 no.) etc complete | Nos | 1 | 1500 | 18 | 1770
20 | Providing and laying 1st quality ceramic tiles of size not less than 300mm x 600mm x 8mm thick, in line and level for dado etc. with cement over rough plaster surface etc. | Sq | 14.2 | 1450 | 18 | 24296.2
21 | Providing and laying 1st quality finished vitrified tiles of size not less than 600mm x 600mm x 8mm thick, in line and level for flooring / skirting etc. wherever required up to any floor, over under bed with minimum 20 to 40mm thick cement sand mortar | Sq | 50 | 1500 | 18 | 88500
22 | Providing and laying brick bat cement concrete 1:4:8 (1-cement : 4-coarse sand : 8-hand broken brick bats) and curing complete below flooring | CUMT | 5 | 5200 | 18 | 30680
23 | Providing and laying cement concrete 1:4:8 (1-cement : 4-coarse sand : 8- brick bats 40mm nominal size) and curing complete below pvaer blocks | CUMT | 7 | 5500 | 18 | 45430
24 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. | Sq | 5 | 1700 | 18 | 10030
25 | Providing water proofing treatment to terrace at any level with brick bat coba in proportion 1:3 of average 150 mm thick as per standard using chemical as water proofing, china mosaic tile pieces fixing on the top finished smooth with white cement with p | Sq | 60 | 850 | 18 | 60180
26 | Removing the existing paver blocks and refixing the same after raising the ground level including 35mm sand layer for levelling and filling the joint with sand in proper line and level | Sq | 72 | 650 | 18 | 55224
27 | Removing the old indian WC and fixing the new one in line, level, with proper drainage outlet connestion etc. complete | Nos | 1 | 15000 | 18 | 17700
PO / WO Value Including Tax | [5 empty] | 719971.1
Negotiated / Discount Amount | [5 empty] | 204589
Total PO/WO Value After Discount | [5 empty] | 515382.1
Payment Terms |  |  |  | 70% with Purchase Order
Freight |  |  |  | Included
Installation |  |  |  | Included
Remarks |  |  |  | Please note UOM is not mentioned clearly so it is considered as SQM where Sq is written
Delivery Schedule |  |  |  | 90 days from the date of Work order
Warranty |  |  |  | As per manufacturer
Procurement Committee Member: Hemant Shah
Date Updated: 2025-12-09
Time Updated: 17:19:12