## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/065
Enquiry Date: 2025-12-23
Enquiry Particulars: 250 LPH Water ATM in 6 villages of Halol
Submission Date/Time Before: 2025-12-31 20:00:00
Project Coordinators: Nikul Davda, Mrugesh Patel, Vipul Parmar
Project Name: Sun Pharma water ATM Halol
Project Type: CSR
Project Amount: 5381014
Site Location: Ghoghamba, Shivrajpur,Pratapura (Rinki Chokdi),Pratapura (Biliyapura),Panelav,Tajpura
Srl | Item Desc | UoM | Reqd. Qty | BEST WATER |  |  | D.G.B Infosystem |  |  | NAV PRODUCTS |  |  | SOCIAL VYUH
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | 250 LPH RO Unit with 3-year AMC <br>• Capacity: 250 LPH <br>• ISI Marked, ISO Certified <br>• FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 180201.7 | 18 | 1275828 | 180000 | 18 | 1274400 | 90000 | 18 | 637200
2 | 2 Ton Chiller <br>• Steel frame, copper condenser & evaporator <br>• Corrosion-resistant & permitted material <br>• Eco-friendly refrigerant <br>• Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 65305.9 | 18 | 462366 | 115000 | 18 | 814200 | 80000 | 18 | 566400
3 | Water Purifier Storage Tank (1000 Liter ) <br>• Triple-layer, food-grade polymer <br>• Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial <br>• With MS stand support (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 20000 | 18 | 141600 | 10000 | 18 | 70800 | 90000 | 18 | 637200
4 | GSM Base Coin Panel ( 1 Pair) <br>• ISI Marked, Standard (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 30239.8 | 18 | 214098 | 48000 | 18 | 339840 | 30000 | 18 | 212400
5 | Earthing and all necessary electrical fitting <br>• Anchor Cables, MCB, Switchboards (ISI Marked) <br>• Complete earthing & wiring Standard ISI Approved Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 27000 | 18 | 191160 | 21000 | 18 | 148680 | 40000 | 18 | 283200
6 | Raw Water Storage Tank (2000 Ltr.) <br>• Triple-layer, food-grade polymer <br>• Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (2000 Ltr.) Certified Food Grade and Anti-Microbial Storage (Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 5 | 0 | 0 | 0 | 25000 | 18 | 147500 | 20000 | 18 | 118000 | 15000 | 18 | 88500
7 | Fully automatization Plant <br>• Lubi Motors <br>• SV Valves <br>• Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 22000 | 18 | 155760 | 42000 | 18 | 297360 | 20000 | 18 | 141600
8 | CCTV Camera (HD) <br>• 2 MP HD Resolution <br>• Night Vision, Bullet Camera <br>• SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 19500 | 18 | 138060 | 11000 | 18 | 77880 | 20000 | 18 | 141600
9 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (Ghoghamba, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), and Panelav,) | Nos | 4 | 0 | 0 | 0 | 50000 | 18 | 236000 | 105000 | 18 | 495600 | 200000 | 18 | 944000
10 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia with proper RCC work (Tajpura) | Nos | 1 | 0 | 0 | 0 | 62711.9 | 18 | 74000 | 105000 | 18 | 123900 | 200000 | 18 | 236000
11 | Comprehensive Maintenance Contract (CMC) <br>• 2 Years (after 1-year brand warranty) (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 90000 | 18 | 637200 | 98000 | 18 | 693840 | 60000 | 18 | 424800
12 | Cabinet Unit for Water ATM Machinery <br>• Dimensions: 12’ x 12’ <br>• 50 mm PUF insulated cabinet <br>• Door size: 6’ x 3’ (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 123650 | 18 | 875442 | 220000 | 18 | 1557600 | 150000 | 18 | 1062000
13 | Monitoring & Evaluation (Monthly Monitoring Report, Key Outputs and other associated details will be shared regularly) (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 20000 | 18 | 141600 | 18000 | 18 | 127440 | 25000 | 18 | 177000
14 | Transport, Installation, Training (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 30000 | 18 | 212400 | 6000 | 18 | 42480 | 10000 | 18 | 70800
15 | automatization of borewell with wire and necessary things, and plumbing of water supply line and waste water line charges (Tajpura) | Job | 1 | 0 | 0 | 0 | 33898.3 | 18 | 40000 | 14000 | 18 | 16520 | 40000 | 18 | 47200
16 | Bore Well 180 Ft with 1.5 HP Pump Motor <br>• Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent (PANELAV) | Job | 1 | 0 | 0 | 0 | 100000 | 18 | 118000 | 203000 | 18 | 239540 | 200000 | 18 | 236000
17 | Fixing of 1.5 HP borwell motor pump, with pipe, starter <br>• Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent <br>• wire and its automatization and plumbing of water supply line and waste water line with inlet pipe of 90 RFT and outlet 20 RFT (PRATAPURA (BILIYAPURA)) | Job | 1 | 0 | 0 | 0 | 67796.6 | 18 | 80000 | 48000 | 18 | 56640 | 50000 | 18 | 59000
18 | Fixing of 1.5 HP submersible motor pump, with pipe, starter <br>• Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent <br>• wire and its automatization and plumbing of water supply line (PRATAPURA (RINKI CHOKDI) ) | Job | 1 | 0 | 0 | 0 | 50847.5 | 18 | 60000 | 48000 | 18 | 56640 | 50000 | 18 | 59000
19 | Fixing of 1.5 HP borwell motor pump, with pipe, starter and wire and its automatization and plumbing for raw water and waste water line connection to drainage line with inlet pipe 50 RFT and Outlet 70 RFT (SHIVARJPUR) | Job | 1 | 0 | 0 | 0 | 67796.6 | 18 | 80000 | 48000 | 18 | 56640 | 50000 | 18 | 59000
20 | Fixing of 1.5 HP borwell motor pump, with pipe, starter Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent and wire and its automatization (GHOGHAMBA) | Job | 1 | 0 | 0 | 0 | 42372.9 | 18 | 50000 | 48000 | 18 | 56640 | 50000 | 18 | 59000
21 | Drainage line work for waste water 15 feet (GHOGHAMBA) | Job | 1 | 0 | 0 | 0 | 12711.9 | 18 | 15000 | 24000 | 18 | 28320 | 30000 | 18 | 35400
22 | Paver block 15*9 feet with 3.5 CUM land filling, cleaning of area (PRATAPURA (RINKI CHOKDI) ) | Job | 1 | 0 | 0 | 0 | 21186.4 | 18 | 25000 | 30000 | 18 | 35400 | 60000 | 18 | 70800
23 | Civil work : Concrete pile base for 2000 ltr water tank (SHIVARJPUR) | Job | 1 | 0 | 0 | 0 | 8474.6 | 18 | 10000 | 18000 | 18 | 21240 | 150000 | 18 | 177000
24 | Sim cards with 3 Years of Data Plan (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 0 | 0 | 0 | 18 | 0 | 15000 | 18 | 106200 | 15000 | 18 | 106200
[6 empty] | 0 |  |  | 5381014 |  |  | 6855800 |  |  | 6531300
[6 empty] | L1 |  |  | L2 |  |  | L4 |  |  | L3
Payment Terms | [6 empty] | 80% advance, 20% after work completed |  |  | 50% ADVANCE 30% AFTER CIVIL AND 20% POST INSTALLATION |  |  | 100% Against PO.
Freight | [6 empty] | included |  |  | INCLUDED |  |  | Freight Charges are Inclusive.
Installation | [6 empty] | included |  |  | AT SITE |  |  | Commissioning and Installation of entire water ATM will completed within 45 Days of starting the work.
Remarks
Delivery Schedule | [6 empty] | 30-40 days after receiving PO and advance |  |  | 8 to 10 Weeks |  |  | Machines will start delivering immediately once the Construction work is completed. 20-25 Days from Work start Date.
Warranty | [6 empty] | 3 years except damage due to power fluctuation and physical damage |  |  | AS PER QUOTATION |  |  | 1 Year Standard Brand Warranty.

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/065
Enquiry Date: 2025-12-23
Enquiry Particulars: 250 LPH Water ATM in 6 villages of Halol
Submission Date/Time Before: 2025-12-31 20:00:00
Project Coordinators: Nikul Davda, Mrugesh Patel, Vipul Parmar
Project Name: Sun Pharma water ATM Halol
Project Amount: 5381014
Site Location: Ghoghamba, Shivrajpur,Pratapura (Rinki Chokdi),Pratapura (Biliyapura),Panelav,Tajpura
Srl | Item Desc | UoM | Reqd. Qty | D.G.B Infosystem
|  |  |  | Rate | Tax % | Amount
1 | 2 Ton Chiller • Steel frame, copper condenser & evaporator • Corrosion-resistant & permitted material • Eco-friendly refrigerant • Certifications: ISI, CE, NSF Blue Star / Voltas / Celfrost / Western / Usha Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 65305.9 | 18 | 462365.8
2 | 250 LPH RO Unit with 3-year AMC • Capacity: 250 LPH • ISI Marked, ISO Certified • FSSAI & BIS Approved Kent / Eureka Forbes / Blue Star / AquaSure / Livpure / Zero B / Netsol Water Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 180201.7 | 18 | 1275828
3 | automatization of borewell with wire and necessary things, and plumbing of water supply line and waste water line charges (Tajpura) | Job | 1 | 33898.3 | 18 | 40000
4 | Bore Well 180 Ft with 1.5 HP Pump Motor • Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent (PANELAV) | Job | 1 | 100000 | 18 | 118000
5 | Cabinet Unit for Water ATM Machinery • Dimensions: 12’ x 12’ • 50 mm PUF insulated cabinet • Door size: 6’ x 3’ (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 123650 | 18 | 875442
6 | CCTV Camera (HD) • 2 MP HD Resolution • Night Vision, Bullet Camera • SIM-based operation Canon / Dahua / CP Plus / Ahuja / Samsung / Hikvision Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 19500 | 18 | 138060
7 | Civil work : Concrete pile base for 2000 ltr water tank (SHIVARJPUR) | Job | 1 | 8474.6 | 18 | 10000
8 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia (Ghoghamba, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), and Panelav,) | Nos | 4 | 50000 | 18 | 236000
9 | Civil Work Construction 12’ × 12’ plinth platform for prefab shed (c/o) upto plinth level. as per drawing. Height of the platform 2’ above surrounding ground level. Proper drainage system with outlet. Separate pedestal of 1600 mm dia with proper RCC work (Tajpura) | Nos | 1 | 62711.9 | 18 | 74000
10 | Comprehensive Maintenance Contract (CMC) • 2 Years (after 1-year brand warranty) (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 90000 | 18 | 637200
11 | Drainage line work for waste water 15 feet (GHOGHAMBA) | Job | 1 | 12711.9 | 18 | 15000
12 | Earthing and all necessary electrical fitting • Anchor Cables, MCB, Switchboards (ISI Marked) • Complete earthing & wiring Standard ISI Approved Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 27000 | 18 | 191160
13 | Fixing of 1.5 HP borwell motor pump, with pipe, starter Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent and wire and its automatization (GHOGHAMBA) | Job | 1 | 42372.9 | 18 | 50000
14 | Fixing of 1.5 HP borwell motor pump, with pipe, starter • Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent • wire and its automatization and plumbing of water supply line and waste water line with inlet pipe of 90 RFT and outlet 20 RFT (PRATAPURA (BILIYAPURA)) | Job | 1 | 67796.6 | 18 | 80000
15 | Fixing of 1.5 HP borwell motor pump, with pipe, starter and wire and its automatization and plumbing for raw water and waste water line connection to drainage line with inlet pipe 50 RFT and Outlet 70 RFT (SHIVARJPUR) | Job | 1 | 67796.6 | 18 | 80000
16 | Fixing of 1.5 HP submersible motor pump, with pipe, starter • Pump: 1.5 HP (Lubi or equivalent) Water supply line from borewell to the overhead water tank may be included in this item (pipes of Supreme, Astral etc.) Lubi / Equivalent • wire and its automatization and plumbing of water supply line (PRATAPURA (RINKI CHOKDI) ) | Job | 1 | 50847.5 | 18 | 60000.1
17 | Fully automatization Plant • Lubi Motors • SV Valves • Finolex UPVC Pipes Lubi / Finolex / Equivalent Or Equivalent (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 22000 | 18 | 155760
18 | GSM Base Coin Panel ( 1 Pair) • ISI Marked, Standard (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 30239.8 | 18 | 214097.8
19 | Monitoring & Evaluation (Monthly Monitoring Report, Key Outputs and other associated details will be shared regularly) (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 20000 | 18 | 141600
20 | Paver block 15*9 feet with 3.5 CUM land filling, cleaning of area (PRATAPURA (RINKI CHOKDI) ) | Job | 1 | 21186.4 | 18 | 25000
21 | Raw Water Storage Tank (2000 Ltr.) • Triple-layer, food-grade polymer • Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial Raw Water Storage Tank (2000 Ltr.) Certified Food Grade and Anti-Microbial Storage (Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 5 | 25000 | 18 | 147500
22 | Sim cards with 3 Years of Data Plan (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 0 | 18 | 0
23 | Transport, Installation, Training (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 30000 | 18 | 212400
24 | Water Purifier Storage Tank (1000 Liter ) • Triple-layer, food-grade polymer • Anti-bacterial (silver-ion coating) 3 Layer Antimicrobial • With MS stand support (Ghoghamba, Shivrajpur, Pratapura (Rinki Chokdi), Pratapura (Biliyapura), Panelav, and Tajpura) | Nos | 6 | 20000 | 18 | 141600
PO / WO Value Including Tax | [5 empty] | 5381013.7
Negotiated / Discount Amount | [5 empty] | 0
Total PO/WO Value After Discount | [5 empty] | 5381013.7
Payment Terms |  |  |  | 80% advance, 20% after work completed
Freight |  |  |  | included
Installation |  |  |  | included
Remarks |  |  |  | need proper power supply for smooth functioning of water atm
Delivery Schedule |  |  |  | 30-40 days after receiving PO and advance
Warranty |  |  |  | 3 years except damage due to power fluctuation and physical damage
Procurement Committee Member: Hemant Shah
Date Updated: 2026-01-02
Time Updated: 11:37:30