## Vendor Quotes
Comparison Statement - Quotations(Rates) As Given by Vendors
Enquiry No: UWB/2025-26/CSR/072
Enquiry Date: 2026-01-05
Enquiry Particulars: Renovation Work of Thithor AWC - 4
Submission Date/Time Before: 2026-01-08 16:00:00
Project Coordinators: Sunny Devnani
Project Name: Smart Anganwadi - Karkhadi Sector, Padra Taluka, Vadodara District.
Project Type: CSR
Project Amount: 1950300
Site Location: Thithor Village, Padra taluka, Vadodara District
Srl | Item Desc | UoM | Reqd. Qty | Excel Infrastructure |  |  | Shree Dattguru Enterprise |  |  | Shree Laxmi Enterprise |  |  | Suril Construction
|  |  |  | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount | Rate | Tax % | Amount
1 | Dismentaling the existing flooring including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. (NA) | Square Meter | 45 | 235 | 18 | 12478.5 | 600 | 18 | 31860 | 650 | 18 | 34515 | 190 | 18 | 10089
2 | P & L Brickwork using common burnt clay building bricks having crushing strength not less than 35 kg./Sq.Cm. in Cement Mortar 1:6 (1- Cement : 6 -fine sand) (NA) | Cubic Meter | 1 | 7200 | 18 | 8496 | 5500 | 18 | 6490 | 6000 | 18 | 7080 | 6250 | 18 | 7375
3 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 (NA) | Square Meter | 10 | 475 | 18 | 5605 | 380 | 18 | 4484 | 410 | 18 | 4838 | 510 | 18 | 6018
4 | Providing and laying cement concrete 1:4:8 (1-cement : 4-coarse sand : 8-hand broken stone aggregates 40mm nominal size) and curing complete in foundation (NA) | Cubic Meter | 4.5 | 5500 | 18 | 29205 | 5000 | 18 | 26550 | 5500 | 18 | 29205 | 5100 | 18 | 27081
5 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. (NA) | Square Meter | 17 | 1800 | 18 | 36108 | 1700 | 18 | 34102 | 2000 | 18 | 40120 | 1675 | 18 | 33600.5
6 | Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface free from mortar droppings and other foreign matter. Item includes very minor touching with lapi whenever required, making the surface even and smooth by sand papers. 1. Asian Paint : Premium Emulsion 2. Nerolac Paint : Lotus Touch 3. ICI Dulux (Akzo Nobel) : ICI Dulux 3 in 1 4. Berger Paint : Easy Clean 5. GROWEL : Super Acroplast Plastic Emulsion Paint (NA) | Square Meter | 147 | 225 | 18 | 39028.5 | 250 | 18 | 43365 | 250 | 18 | 43365 | 225 | 18 | 39028.5
7 | Providing and applying two coats of water proofing cement paint of on exterior wall surfaces (Two coats) to give even shade after thoroughly brushing the surface to remove all dirt and remains of loose powered materials and one coat of primer etc complete. Brand - Asian Paint- ACE or equivalnt (NA) | Square Meter | 90 | 230 | 18 | 24426 | 230 | 18 | 24426 | 300 | 18 | 31860 | 255 | 18 | 27081
8 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerolac Synthetic 3. ICI Dulux (Akzo Nobel) : Dulux Gloss 4. Berger Paint : Luxol High Gloss 5. GROWEL Paint : Pentolite Super Synthetic enamel (NA) | Square Meter | 28 | 275 | 18 | 9086 | 230 | 18 | 7599.2 | 200 | 18 | 6608 | 275 | 18 | 9086
9 | Providing and laying 1st quality finished vitrified tiles of size not less than 600mm x 600mm x 8mm thick, in line and level for flooring / skirting etc. wherever required up to any floor, over under bed with minimum 20 to 40mm thick cement sand mortar of 1:3 (1-cement : 3-coarse sand) and necessary cement slurry as approved by EIC. (NA) | Square Meter | 43 | 1500 | 18 | 76110 | 1100 | 18 | 55814 | 1150 | 18 | 58351 | 950 | 18 | 48203
10 | Filling the cracks with crackseal compound of Asian Paint and then applying two coats of damp proof paint (of Asian Paint) over the terrace and parapet wall with thorough cleaning the surface and giving water test for 7 days (NA) | Square Meter | 48 | 350 | 18 | 19824 | 320 | 18 | 18124.8 | 400 | 18 | 22656 | 210 | 18 | 11894.4
11 | Providing and fixing to wall ceiling and floor 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density complete with special flange compression type fittings wall clips etc including making good the wall ceiling and floor (NA) | Running Meter | 18 | 145 | 18 | 3079.8 | 250 | 18 | 5310 | 215 | 18 | 4566.6 | 630 | 18 | 13381.2
12 | Providing and fixing colour anodised aluminum doors with frame and shutter with bakelite sheet for toilet of size 750mm x 2100 mm (NA) | Nos | 2 | 6000 | 18 | 14160 | 6000 | 18 | 14160 | 4000 | 18 | 9440 | 8950 | 18 | 21122
13 | Minor repairing to windows, doors, ventilators etc suchas replacement of broken glass etc and making them in smooth working condition (NA) | Nos | 7 | 1200 | 18 | 9912 | 1100 | 18 | 9086 | 1500 | 18 | 12390 | 250 | 18 | 2065
14 | Providing and fixing 500 litre capacity overhead PVC tank of Sintex brand or equivalent on terrace including necessary fitting, piping etc. (NA) | Job | 1 | 12000 | 18 | 14160 | 12000 | 18 | 14160 | 9000 | 18 | 10620 | 8250 | 18 | 9735
15 | All plumbing works for toilet, kitchen, wash basin, wash area, kitchen which inludes necessary 15mm / 25 mm dia PVC pipe line work from over head tank, fixing of wheel/handle valve, SS stop cocks, flush cocks, bib cocks standard make, etc. complete (NA) | Job | 1 | 25000 | 18 | 29500 | 26000 | 18 | 30680 | 30000 | 18 | 35400 | 35000 | 18 | 41300
16 | Providing and fixing 1/2 hp cromptom motor for lifting of water to overhaed water tank including necessary fitting etc. Complete. (piping workin included in plumbing item) (NA) | Nos | 1 | 7500 | 18 | 8850 | 6000 | 18 | 7080 | 9000 | 18 | 10620 | 9150 | 18 | 10797
17 | Providing and fixing two / three track aluminum cupboard shutters with frame in stor room and kitchen platform having extruded aluminum Colour anodized section with backelite sheetetc (NA) | Square Meter | 11 | 4800 | 18 | 62304 | 3300 | 18 | 42834 | 4000 | 18 | 51920 | 5350 | 18 | 69443
18 | Providig and fixing Child friendly was basin (at low level) including fixing waste coupling, waste pipe, supply pipe and angle cock, CP pillar cock etc. complete (NA) | Nos | 1 | 6500 | 18 | 7670 | 5500 | 18 | 6490 | 6500 | 18 | 7670 | 5250 | 18 | 6195
19 | Painting the inside walls of classrooms as well as outside passage walls with mural painting (NA) | Square Meter | 60 | 575 | 18 | 40710 | 1100 | 18 | 77880 | 1300 | 18 | 92040 | 975 | 18 | 69030
20 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation (NA) | Nos | 1 | 6500 | 18 | 7670 | 4500 | 18 | 5310 | 5500 | 18 | 6490 | 6250 | 18 | 7375
21 | Electrical Work : Providing and fixing of electrical point and wiring with ISI make switch and plug, ISI make copper wiring in open casing patti/pipe (new), distribution box with ISI make MCB fitting, earthing, P/F two fan, two tube lights, three 9W LED bulbs with all labour, material etc. complete (NA) | Job | 1 | 30000 | 18 | 35400 | 25000 | 18 | 29500 | 35000 | 18 | 41300 | 55000 | 18 | 64900
[6 empty] | 493782.8 |  |  | 495305 |  |  | 561054.6 |  |  | 534799.6
[6 empty] | L1 |  |  | L2 |  |  | L4 |  |  | L3
Payment Terms |  |  |  | 75 % with Work order , 25 % against final bill |  |  | 50% Advance and 50% after work complete |  |  | 50% advance and 50% all work complete |  |  | 60%Advance with work order Balance after completion of work.
Freight |  |  |  | Included |  |  | N/A |  |  | N.A |  |  | N.A.
Installation |  |  |  | Included |  |  | N/A |  |  | N A |  |  | N.A.
Remarks
Delivery Schedule |  |  |  | As mutually decided |  |  | 75 DAY |  |  | 45 DAY |  |  | 460 Days
Warranty |  |  |  | As per Manufacturer |  |  | N/A |  |  | N A |  |  | 180 Days.

## Negotiated Quotes
Vendor(s) Selected after Negotiations/Scrutiny by Procurement Committee
Enquiry No: UWB/2025-26/CSR/072
Enquiry Date: 2026-01-05
Enquiry Particulars: Renovation Work of Thithor AWC - 4
Submission Date/Time Before: 2026-01-08 16:00:00
Project Coordinators: Sunny Devnani
Project Name: Smart Anganwadi - Karkhadi Sector, Padra Taluka, Vadodara District.
Project Amount: 1950300
Site Location: Thithor Village, Padra taluka, Vadodara District
Srl | Item Desc | UoM | Reqd. Qty | Shree Dattguru Enterprise
|  |  |  | Rate | Tax % | Amount
1 | All plumbing works for toilet, kitchen, wash basin, wash area, kitchen which inludes necessary 15mm / 25 mm dia PVC pipe line work from over head tank, fixing of wheel/handle valve, SS stop cocks, flush cocks, bib cocks standard make, etc. complete (NA) | Job | 1 | 26000 | 18 | 30680
2 | Dismentaling the existing flooring including stacking of serviceable materilas and disposal of unserviceable materials with all lead and lift. (NA) | Square Meter | 45 | 600 | 18 | 31860
3 | Electrical Work : Providing and fixing of electrical point and wiring with ISI make switch and plug, ISI make copper wiring in open casing patti/pipe (new), distribution box with ISI make MCB fitting, earthing, P/F two fan, two tube lights, three 9W LED bulbs with all labour, material etc. complete (NA) | Job | 1 | 25000 | 18 | 29500
4 | Filling the cracks with crackseal compound of Asian Paint and then applying two coats of damp proof paint (of Asian Paint) over the terrace and parapet wall with thorough cleaning the surface and giving water test for 7 days (NA) | Square Meter | 48 | 320 | 18 | 18124.8
5 | Minor repairing to windows, doors, ventilators etc suchas replacement of broken glass etc and making them in smooth working condition (NA) | Nos | 7 | 1100 | 18 | 9086
6 | P & L Brickwork using common burnt clay building bricks having crushing strength not less than 35 kg./Sq.Cm. in Cement Mortar 1:6 (1- Cement : 6 -fine sand) (NA) | Cubic Meter | 1 | 5500 | 18 | 6490
7 | Painting the inside walls of classrooms as well as outside passage walls with mural painting (NA) | Square Meter | 60 | 1100 | 18 | 77880
8 | Providig and fixing Child friendly was basin (at low level) including fixing waste coupling, waste pipe, supply pipe and angle cock, CP pillar cock etc. complete (NA) | Nos | 1 | 5500 | 18 | 6490
9 | Providing 12 mm thick cement plaster in single coat on brick/concrete walls for interior plastering upto floor two level and finished even and smooth in Cement mortar 1:3 (NA) | Square Meter | 10 | 380 | 18 | 4484
10 | Providing and applying two coats of synthetic enamel paint (oil paint) (excluding priming coat) on new / existing structural steel and other metal surface of following brand and make 1. Asian Paint : Apcolite 2. Nerolac Paint : Nerolac Synthetic 3. ICI Dulux (Akzo Nobel) : Dulux Gloss 4. Berger Paint : Luxol High Gloss 5. GROWEL Paint : Pentolite Super Synthetic enamel (NA) | Square Meter | 28 | 230 | 18 | 7599.2
11 | Providing and applying two coats of washable interior emulsion paint including priming coat of following brand on surfaces to give an even shade including finishing and thinning as per manufacturer's specification after thoroughly cleaning the surface free from mortar droppings and other foreign matter. Item includes very minor touching with lapi whenever required, making the surface even and smooth by sand papers. 1. Asian Paint : Premium Emulsion 2. Nerolac Paint : Lotus Touch 3. ICI Dulux (Akzo Nobel) : ICI Dulux 3 in 1 4. Berger Paint : Easy Clean 5. GROWEL : Super Acroplast Plastic Emulsion Paint (NA) | Square Meter | 147 | 250 | 18 | 43365
12 | Providing and applying two coats of water proofing cement paint of on exterior wall surfaces (Two coats) to give even shade after thoroughly brushing the surface to remove all dirt and remains of loose powered materials and one coat of primer etc complete. Brand - Asian Paint- ACE or equivalnt (NA) | Square Meter | 90 | 230 | 18 | 24426
13 | Providing and fixing 1/2 hp cromptom motor for lifting of water to overhaed water tank including necessary fitting etc. Complete. (piping workin included in plumbing item) (NA) | Nos | 1 | 6000 | 18 | 7080
14 | Providing and fixing 500 litre capacity overhead PVC tank of Sintex brand or equivalent on terrace including necessary fitting, piping etc. (NA) | Job | 1 | 12000 | 18 | 14160
15 | Providing and fixing Branding Name Plate on black granite with Golden letters (plate size 2'0" x 1'6") with installation (NA) | Nos | 1 | 4500 | 18 | 5310
16 | Providing and fixing colour anodised aluminum doors with frame and shutter with bakelite sheet for toilet of size 750mm x 2100 mm (NA) | Nos | 2 | 6000 | 18 | 14160
17 | Providing and fixing to wall ceiling and floor 10.0 kg.F/cm2 working pressure poluthene pipes of 110mm dia low density complete with special flange compression type fittings wall clips etc including making good the wall ceiling and floor (NA) | Running Meter | 18 | 250 | 18 | 5310
18 | Providing and fixing two / three track aluminum cupboard shutters with frame in stor room and kitchen platform having extruded aluminum Colour anodized section with backelite sheetetc (NA) | Square Meter | 11 | 3300 | 18 | 42834
19 | Providing and laying 1st quality finished vitrified tiles of size not less than 600mm x 600mm x 8mm thick, in line and level for flooring / skirting etc. wherever required up to any floor, over under bed with minimum 20 to 40mm thick cement sand mortar of 1:3 (1-cement : 3-coarse sand) and necessary cement slurry as approved by EIC. (NA) | Square Meter | 43 | 1100 | 18 | 55814
20 | Providing and laying cement concrete 1:4:8 (1-cement : 4-coarse sand : 8-hand broken stone aggregates 40mm nominal size) and curing complete in foundation (NA) | Cubic Meter | 4.5 | 5000 | 18 | 26550
21 | Providing and laying polished kota stone slab 25mm thick in cupboard shelves fixing wall with proper groove and fixing with cement etc. (NA) | Square Meter | 17 | 1700 | 18 | 34102
PO / WO Value Including Tax | [5 empty] | 495305
Negotiated / Discount Amount | [5 empty] | 165305
Total PO/WO Value After Discount | [5 empty] | 330000
Payment Terms |  |  |  | 50% Advance and 50% after work complete
Freight |  |  |  | N/A
Installation |  |  |  | N/A
Remarks |  |  |  | Water and electric supply by client.
Delivery Schedule |  |  |  | 75 DAY
Warranty |  |  |  | N/A
Procurement Committee Member: Mitul Patel
Date Updated: 2026-01-12
Time Updated: 16:29:20